## Assays
Target | Primer/Probe ID | Sequences (5' - 3') | Annealing Temp. (°C) | Conc. (uM) | Slope (Eff. %) | Intercept | LOD (copies/rxn) | LOQ (copies/rxn) | Threshold | Ref.
O. kisutch (CYTB) | Ok_CYTB_F | CCT TGG TGG CGG ATA TAC TTA TCT TA | 60 | 0.4 | -3.46 (94.5%) | 40.7 | 12 | 12 | 0.2 | Pilliod 2016
| Ok_CYTB_R | GAA CTAG GAA GAT GGC GAA GTA GAT C |  | 0.4
| Ok_CYTB_P | 6FAM-TGG AAC ACC CAT TCA T-MGBNFQ |  | 0.25
O.mykiss (NADH) | Omy_NAHD_F | 5'-AGTCTCTCCCTGTATATCGTC-3' | 60 | 0.3 | -3.49 (93.3%) | 39.8 | 21 | 21 | 0.2 | Wilcox 2015
| Omy_NAHD_R | 5'-GATTTAGTTCATGAAGTTGCGTGAGTA-3' |  | 0.6
| Omy_NAHD_P | 6FAM-5’-CCAACAACTCTTTAACCATC-3’ -MGBNFQ |  | 0.25
P. antipodarum | NZMS_CO1_F | CTCCTGCTTTCTTTACCTGTCT | 60 | 0.4 | -3.51 (92.8%) | 36.4 | 14 | 14 | 0.02 | Merkes 2015
| NZMS_CO1_R | ACCAGAATAAGTGCTGATAAAGGAT |  | 0.4
| NZMS_CO1_P | 56-FAM/ATTTCGATC/ZEN/CGTTAATAGTATTGTAATAGCYCC/3IABkFQ |  | 0.25
M. saxatilis (CO1) | Ms_CO1_F | 5'-TCCCCGAATGAACAACATAAGTT-3' | 60 | 0.4 | -3.44 (95.5%) | 35.6 | 5 | 94 | 0.02 | Brandl 2015
| Ms_CO1_F | 5'-GAAGCTAGAAGGAGGAGGAAGGA -3' |  | 0.4
| Ms_CO1_P | 6FAM-5’-TTGACTGCTTCCCCC-3'-MGBNFQ |  | 0.2

## General Stats
General Statistics |  |  | InhibitionCV of Sample Replicates
Target | O. kisutch | O. mykiss
N | 674 | 674 | Target | Dilution | N |  | CV*
mean | 8.1536 | 62.1643 |  |  | Total | Above LOQ | Mean | Median | Range
std. | 28.1704 | 276.235 | O. kisutch | Undiluted | 257 | 172 (172) | 27.4% | 21.5% | [1.9 - 108%]
min | 0 | 0 |  | 1:5 | 416 | 227 (155) | 48.4% | 35.8% | [3.0 - 130%]
|  |  |  | Overall | 673 | 399 (327) | 37.4% | 26.4% | [1.9 - 130%]
25% | 0 | 14.8486 | O. mykiss | Undiluted | 410 | 386 (386) | 16.7% | 13.4% | [0.7 - 114%]
|  |  |  | 1:5 | 263 | 231 (221) | 21.2% | 15.2% | [0.8 - 93%]
median | 2.3194 | 35.2331 |  | Overall | 673 | 617 (607) | 18.3% | 14.2% | [0.7 - 114%]
75% | 9.0525 | 63.8181
max | 636.2263 | 6975.6648
ND | 50 (7.4%) | 7 (1.0%)
BLOQ | 274 (40.7%) | 56 (8.3%)
N > 100 | 3 (0.4%) | 72 (10.7%)

## Detection by Time
Detection / Quantification Probability by Temporal Grouping
|  | % Non-Detects |  | % Above LOQ
| N | Median | Range | Median | Range
Month | 14 months
COHO |  | 6.8 | 3.3 - 31.6 | 34 | 0 - 84.1
TROUT |  | 3.3 | 0 - 15.4 | 86.6 | 5.3 - 96.3
Week | 56 weeks
COHO |  | 7.1 | 0 - 66.7 | 28 | 0 - 100
TROUT |  | 0 | 0 - 66.7 | 88.1 | 0 - 100

## Environmental Parameters
Table of Variables
* indicates that a log10-transformed version of this variable was also available
Type | Abbrv. | Description | Unit | Source
eDNA | detected | eDNA Detected (Binary: valued 1 if at least 1/3 replicates in a sample amplified; 0 otherwise |  | This Study
| BLOQ | eDNA Quantified (Binary: valued 1 if eDNA concentration was below the LOQ; 0 otherwise
| eDNA* | eDNA Concentration | copies/ml
Fish Count | N_fish* | Total Fish Count | fish | NOAA
| N_adult | Adult Fish Count (Total) | fish
| N_adult)live | Adult Fish Count (Alive) | fish
| N_adult_dead | Adult Fish Count (Dead) | fish
| N_juvenile | Juvenile Fish Count | fish
| biomass* | Total Biomass | kg
| biomass_adult | Adult Biomass | kg
| biomass_juvenile | Juvenile Biomass | kg
Hatchery Releases | release | Hatchery Fish Released (Binary) |  | MBTSP
| tr | Total Hatchery Fish Released | fish
| release3T | Hatchery Fish Released Over Previous 3 Days (Binary)
| tr3T | Total Hatchery Fish Released Over Previous 3 Days | fish
Water Quality | wtemp | Mean Water Temperature | C | NOAA
| pH | pH in Lagoon
| DO | Dissolved Oxygen in Lagoon | mg/L
| turb | Turbidity in Lagoon | NTU
Meteorological | temp | Mean air temperature | C | Swanton Pacific Ranch
| rain* | Total Rainfall | mm
| rain1* | Total Rainfall in Previous Day | mm
| rain3T* | Cumulative Rainfall Over Previous 3 Days | mm
| rain7T* | Cumulative Rainfall Over Previous 7 Days | mm
| rain30T* | Cumulative Rainfall Over Previous 30 Days | mm
| dry | Dry Day (Binary: valued 1 if rain3T > 1mm , otherwise valued 0)
| dry_days | Number of Consecutive Dry Days (valued 0 if a wet day)
Streamflow | flow* | Discharge (Continuous) | cfs
| flow_high | High Flow Rate (Binary: values 1 if flow > 23cfs (median for 2010-2020); otherwise valued 0
| stage | Stream Stage (estimated from rating curve) | ft
Sun/Moon | photoperiod | Photoperiod / Fraction of Day with Daylight | day
| moon_phase | Moon Phase (Categorical: full, new, waxing, waning)
| ﻿moon_phase_continuous | Continuous Moon Phase (defined as cosine((2pi/15)*days since full moon))
Time | morn_midday_eve | Time of Day of eDNA sample collection (Categorical: morning, midday, evening)
| day_of_year | Day of Year (Julian)
| season | Season of Year (Categorical: spring, summer, fall, winter)

## Detection - trap vs eDNA
Detection Rate by Sampling Method
O. kisutch
| Trap: Fish Present | Trap: Fish Absent
eDNA: Above LOQ | 54 | 29
eDNA: BLOQ | 6 | 12
McNemar's Test: χ2 = 13.8, p < 0.001
O. mykiss
| Trap: Fish Present | Trap: Fish Absent
eDNA: Above LOQ | 93 | 4
eDNA: BLOQ | 4 | 0
McNemar's Test: χ2 = 0.125, p = 0.724

## simple lin reg
Regressions - Fish Abundance on eDNA
Based on 101 observations. Square-root transformed daily abundance metric. Log10 transformed mean daily eDNA concentrations
Fish on eDNA |  |  | eDNA of Fish
O. kisutch | Count | Biomass | eDNA | O. kisutch | O. mykiss
Parameter | Coefficient (CI) | Coefficient (CI) | Parameter | Coefficient (CI) | Coefficient (CI)
Intercept | 3.53 (0.64, 6.42) | 0.83 (0.46, 1.19) | Intercept | 0.68(0.47, 0.89) | 1.45 (1.17,1.74)
log10 eDNA | -0.08 (-1.10, 0.94) | -0.24 (-0.54, 0.05) | √Fish Count | -0.16 (-0.36, 0.04) | 0.06 (-0.01, 0.13)
R2 | 0.00 | 0.03 | R2 | 0.03 | 0.03
F-statistic (p-value) | 0.02 (0.88) | 2.70 (0.10) | F-statistic (p-value) | 2.60 (0.110) | 2.9 (0.09)
Durbin-Watson | 2.04 | 2.01 | Durbin-Watson | 2.13 | 2.1
O. mykiss | Count | Biomass | eDNA | O. kisutch | O. mykiss
Parameter | Coefficient (CI) | Coefficient (CI) | Parameter | Coefficient (CI) | Coefficient (CI)
Intercept | 4.16 (-0.99, 9.31) | 1.29 (0.22, 2.35) | Intercept | 0.70 (0.50, 0.91) | 1.37 (1.08, 1.66)
log10 eDNA | 1.00 (0.02, 1.99) | 0.51 (-0.14, 1.16) | √Biomass | -0.07 (-0.20, 0.05) | 0.07 (0.02, 0.12)
R2 | 0.04 | 0.03 | R2 | 0.02 | 0.08
F-statistic (p-value) | 4.09 (0.05) | 2.46 (0.12) | F-statistic (p-value) | 1.47 (0.23) | 7.97 (0.006)
Durbin-Watson | 1.93 | 2.07 | Durbin-Watson | 2.13 | 2.10

## MLR with EVs
Fish on eDNA
Target | Dep. Variable | Sig. Expl. Variables (Sign) | F-stat p value | Adj-R2
O kisutch | Count | Flow (+), 7d Rain (-), Hatchery Release (+) | 0.01 | 0.115
| Biomass | Hatchery Release (+) | 0.02 | 0.093
O. mykiss | Count | Photoperiod (+) | 0.003 | 0.138
| Biomass | - | 0.07 | 0.057
eDNA on Fish
Target | Abundance Variable | Sig. Expl. Variables (Sign) | F-stat p value | Adj-R2
O kisutch | Count | Flow (-) | <0.001 | 0.203
| Biomass | - | 0.02 | 0.106
O. mykiss | Count | Count (+), Flow (-), 7d Rain (+) | 0.002 | 0.15
| Biomass | Biomass (+), Flow (-), Photoperiod (+)) | 0.003 | 0.135